融合终端安装进度（低压）

数据表

|  |  |
| --- | --- |
| 相关字段 |  |
| Fusion\_term\_install\_term 融合终端安装计划 | |
| Area\_id | 区域 id |
| install\_plan\_num | 计划安装数 |
| iot\_device iot 设备表 | |
| rely type | 关联业务类型 |
| rely id | 关联设备 id |
| connect\_mode | 接入方式 |
| Dms\_tr\_device 配网配变表 | |
| Id | 配变 id |

逻辑

计算公式

融合终端安装进度= 已安装数量/计划安装数量

已 安 装 sql ： select tr.id as trid,tr.name as trname,qy.id as qyid,qy.name as qyname,fe.id as feid,fe.name as fename,st.id as stid,st.name as stname,ft.id as ftid,ft.dev\_name as ftname

from d5000.iot\_device ft

left join d5000.dms\_tr\_device tr on tr.id=rely\_id and rely\_type=3

left join osp.device\_auth\_manage auth on tr.id=auth.deviceid

left join osp.isc\_baseorg qy on auth.orgid=qy.id

left join d5000.dms\_feeder\_device fe on tr.feeder\_id=fe.id

left join d5000.substation st on fe.st\_id=st.id

where connect\_mode=1 and ft.is\_valid = 1 and ft.run\_state = 1

and qy.id in (select id from osp.isc\_baseorg g start with

id='338a888e74566fda017456cab8e40012' connect by prior g.id=g.parent\_id)

计划安装 sql:select area\_id,install\_plan\_num from D5000.FUSION\_TERM\_INSTALL\_PLAN where

1=1 and area\_id in (select id from osp.isc\_baseorg g start with

id='338a888e74566fda017456cab8e40012' connect by prior g.id=g.parent\_id)